## common
Name | Description | group
VAL | Value Field
SCAN | Scanning Algorithm | Scan
PINI | Process at Initialization | Scan
EVNT | Event Number | Scan
PRIO | Priority | Scan
DISV | Disable Value | Scan
DISA | Scan Disable Input Link Value | Scan
SDIS | Scan Disable Input Link | Scan
FLNK | Forward Link | Scan
STAT | Current Alarm Status | Alarm
SEVR | Current Alarm Severity | Alarm
UDF | VAL Undefined | Alarm
NAME | Record Name | Operator Display
DESC | Description | Operator Display
ASG | Access Security Group
DTYP | Device Type | Read Write and Convert

## ai
Name | Description | group
VAL | Value Field | Read Write and Convert
INP | Input Link | Read Write and Convert
DTYP | Device Type | Read Write and Convert
LINR | Type of Conversion | Read Write and Convert
RVAL | Raw Value | Read Write and Convert
ROFF | Raw Value Offset | Read Write and Convert
EGUF | Engineering Units Full | Read Write and Convert
EGUL | Engineering Units Low | Read Write and Convert
AOFF | Adjustment Offset | Read Write and Convert
ASLO | Adjustment Slope | Read Write and Convert
ESLO | Slope for Linear Conversions | Read Write and Convert
SMOO | Smoothing Factor | Read Write and Convert
EGU | Engineering Units | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
PREC | Display Precision | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display
HIHI | Hihi Alarm Limit | Alarm
LOLO | Lolo Alarm Limit | Alarm
HIGH | High Alarm Limit | Alarm
LOW | Low Alarm Limit | Alarm
HHSV | Hihi Alarm Severity | Alarm
LLSV | Lolo Alarm Severity | Alarm
HSV | High Alarm Severity | Alarm
LSV | Low Alarm Severity | Alarm

## ao
Name | Description | group
OMSL | Output Mode Select | Desired Output
DOL | Desired Output Location (an Input Link) | Desired Output
OIF | Out Full or Incremental | Desired Output
VAL | Desired Output | Desired Output
OUT | Convert and Write | Read Write and Convert
DTYP | Device Type | Read Write and Convert
LINR | Type of Conversion | Read Write and Convert
RVAL | Raw Value | Read Write and Convert
ROFF | Raw Value Offset | Read Write and Convert
EGUF | Engineering Units Full | Read Write and Convert
EGUL | Engineering Units Low | Read Write and Convert
AOFF | Adjustment Offset | Read Write and Convert
ASLO | Adjustment Slope | Read Write and Convert
ESLO | Slope for Linear Conversions | Read Write and Convert
EGU | Engineering Units | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
PREC | Display Precision | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display
HIHI | Hihi Alarm Limit | Alarm
HIGH | High Alarm Limit | Alarm
LOW | Low Alarm Limit | Alarm
LOLO | Lolo Alarm Limit | Alarm
HHSV | Hihi Alarm Severity | Alarm
HSV | High Alarm Severity | Alarm
LSV | Low Alarm Severity | Alarm
LLSV | Lolo Alarm Severity | Alarm

## bi
Name | Description | group
DTYP | Device Type | Read Write and Convert
ZNAM | Zero Name | Read Write and Convert
ONAM | One Name | Read Write and Convert
RVAL | Raw Value | Read Write and Convert
VAL | Value Field | Read Write and Convert
NAME | Record Name | Operator Display
DESC | Description | Operator Display
ZSV | Zero Severity | Alarm
OSV | One Severity | Alarm
COSV | Change of State Severity | Alarm

## bo
Name | Description | group
DOL | Desired Output Location (Input Link) | Desired Output
OMSL | Output Mode Select | Desired Output
DTYP | Device Type | Read Write and Convert
OUT | Output Link | Read Write and Convert
VAL | Value Field | Read Write and Convert
RVAL | Raw Data Value | Read Write and Convert
HIGH | Seconds to Hold High | Read Write and Convert
ZNAM | Zero Name | Read Write and Convert
ONAM | One Name | Read Write and Convert
NAME | Record Name | Operator Display
DESC | Description | Operator Display
ZSV | Zero Severity | Alarm
OSV | One Severity | Alarm
COSV | Change of State Severity | Alarm

## lohgin
Name | Description | group
VAL | Value Field | Read Write and Convert
INP | Input Link | Read Write and Convert
DTYP | Device Type | Read Write and Convert
EGU | Engineering Units | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display
HIHI | Hihi Alarm Limit | Alarm
HIGH | High Alarm Limit | Alarm
LOW | Low Alarm Limit | Alarm
LOLO | Lolo Alarm Limit | Alarm
HHSV | Hihi Alarm Severity | Alarm
HSV | High Alarm Severity | Alarm
LSV | Low Alarm Severity | Alarm
LLSV | Lolo Alarm Severity | Alarm
HYST | Alarm Deadband | Alarm

## longout
Name | Description | group
OMSL | Output Mode Select | Desired Output
VAL | Value Field | Desired Output
OUT | Output Link | Read Write and Convert
DTYP | Device Type | Read Write and Convert
EGU | Engineering Units | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display
HIHI | Hihi Alarm Limit | Alarm
HIGH | High Alarm Limit | Alarm
LOW | Low Alarm Limit | Alarm
LOLO | Lolo Alarm Limit | Alarm
HHSV | Hihi Alarm Severity | Alarm
HSV | High Alarm Severity | Alarm
LSV | Low Alarm Severity | Alarm
LLSV | Lolo Alarm Severity | Alarm
HYST | Alarm Deadband | Alarm

## mbbi
Name | Description | group
VAL | Value Field | Read Write and Convert
INP | Input Link | Read Write and Convert
RVAL | Raw Data Value | Read Write and Convert
SHFT | Shift | Read Write and Convert
ZRVL | Zero Value | Read Write and Convert
ONVL | One value | Read Write and Convert
TWVL | Two Value | Read Write and Convert
THVL | Three Value | Read Write and Convert
FRVL | Four Value | Read Write and Convert
FVVL | Five Value | Read Write and Convert
SXVL | Six Value | Read Write and Convert
SVVL | Seven Value | Read Write and Convert
EIVL | Eight value | Read Write and Convert
NIVL | Nine Value | Read Write and Convert
TEVL | Ten Value | Read Write and Convert
ELVL | Eleven Value | Read Write and Convert
TVVL | Twelve Value | Read Write and Convert
TTVL | Thirteen Value | Read Write and Convert
FTVL | Fourteen Value | Read Write and Convert
FFVL | Fifteen Value | Read Write and Convert
ZRST | Zero String | Read Write and Convert
ONST | One String | Read Write and Convert
TWST | Two String | Read Write and Convert
THST | Three String | Read Write and Convert
FRST | Four String | Read Write and Convert
FVST | Five String | Read Write and Convert
SXST | Six String | Read Write and Convert
SVST | Seven String | Read Write and Convert
EIST | Eight String | Read Write and Convert
NIST | Nine String | Read Write and Convert
TEST | Ten String | Read Write and Convert
ELST | Eleven String | Read Write and Convert
TVST | Twelve String | Read Write and Convert
TTST | Thirteen String | Read Write and Convert
FTST | Fourteen String | Read Write and Convert
FFST | Fifteen String | Read Write and Convert
NAME | Record Name | Operator Display
DESC | Description | Operator Display
HOPR | High Operating Range | Operator Display
UNSV | Unknown State Severity | Alarm
COSV | Change of State Severity | Alarm
ZRSV | 0 State Severity | Alarm
ONSV | 1 State Severity | Alarm
TWSV | 2 State Severity | Alarm
THSV | 3 State Severity | Alarm
FRSV | 4 State Severity | Alarm
FVSV | 5 State Severity | Alarm
SXSV | 6 State Severity | Alarm
SVSV | 7 State Severity | Alarm
EISV | 8 State Severity | Alarm
NISV | 9 State Severity | Alarm
TESV | 10 State Severity | Alarm
ELSV | 11 State Severity | Alarm
TVSV | 12 State Severity | Alarm
TTSV | 13 State Severity | Alarm
FTSV | 14 State Severity | Alarm
FFSV | 15 State Severity | Alarm

## mbbo
Name | Description | group
OMSL | Output Mode Select | Desired Output
DOL | Desired Output Location (an Input Link) | Desired Output
VAL | Value Field | Desired Output
OUT | Output Link | Read Write and Convert
DTYP | Device Type | Read Write and Convert
RVAL | Raw Data Value | Read Write and Convert
SHFT | Shift | Read Write and Convert
SDEF | States Defined? | Read Write and Convert
ZRVL | Zero Value | Read Write and Convert
ONVL | One value | Read Write and Convert
TWVL | Two Value | Read Write and Convert
THVL | Three Value | Read Write and Convert
FRVL | Four Value | Read Write and Convert
FVVL | Five Value | Read Write and Convert
SXVL | Six Value | Read Write and Convert
SVVL | Seven Value | Read Write and Convert
EIVL | Eight value | Read Write and Convert
NIVL | Nine Value | Read Write and Convert
TEVL | Ten Value | Read Write and Convert
ELVL | Eleven Value | Read Write and Convert
TVVL | Twelve Value | Read Write and Convert
TTVL | Thirteen Value | Read Write and Convert
FTVL | Fourteen Value | Read Write and Convert
FFVL | Fifteen Value | Read Write and Convert
ZRST | Zero String | Read Write and Convert
ONST | One String | Read Write and Convert
TWST | Two String | Read Write and Convert
THST | Three String | Read Write and Convert
FRST | Four String | Read Write and Convert
FVST | Five String | Read Write and Convert
SXST | Six String | Read Write and Convert
SVST | Seven String | Read Write and Convert
EIST | Eight String | Read Write and Convert
NIST | Nine String | Read Write and Convert
TEST | Ten String | Read Write and Convert
ELST | Eleven String | Read Write and Convert
TVST | Twelve String | Read Write and Convert
TTST | Thirteen String | Read Write and Convert
FTST | Fourteen String | Read Write and Convert
FFST | Fifteen String | Read Write and Convert
NAME | Record Name | Operator Display
DESC | Description | Operator Display
UNSV | Unknown State Severity | Alarm
COSV | Change of State Severity | Alarm
IVOA | Invalid Alarm Output Action | Alarm
IVOV | Invalid Alarm Output Value, in eng. units | Alarm
ZRSV | 0 State Severity | Alarm
ONSV | 1 State Severity | Alarm
TWSV | 2 State Severity | Alarm
THSV | 3 State Severity | Alarm
FRSV | 4 State Severity | Alarm
FVSV | 5 State Severity | Alarm
SXSV | 6 State Severity | Alarm
SVSV | 7 State Severity | Alarm
EISV | 8 State Severity | Alarm
NISV | 9 State Severity | Alarm
TESV | 10 State Severity | Alarm
ELSV | 11 State Severity | Alarm
TVSV | 12 State Severity | Alarm
TTSV | 13 State Severity | Alarm
FTSV | 14 State Severity | Alarm
FFSV | 15 State Severity | Alarm

## stringin
Name | Description | group
VAL | Value | Read Write and Convert
INP | Input Link | Read Write and Convert
DTYP | Device Type | Read Write and Convert
NAME | Record Name | Operator Display
DESC | Description | Operator Display
OVAL | Output Value | Run-time and Simulation Mode

## stringout
Name | Description | group
VAL | Value Field | Desired Output
DOL | Desired Output Location (Input Link) | Desired Output
OMSL | Output Mode Select | Desired Output
OUT | Output Link | Read Write and Convert
DTYP | Device Type | Read Write and Convert
NAME | Record Name | Operator Display
DESC | Description | Operator Display
OVAL | Output Value | Run-time and Simulation Mode

## waveform
Name | Description | group
INP | Input Link | Read Write and Convert
NELM | Number of Elements in array | Read Write and Convert
FTVL | Field Type of Value | Read Write and Convert
RARM | Rearm | Read Write and Convert
EGU | Engineering Units | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
PREC | Display Precision | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display
VAL | Value Field | Run-time and Simulation Mode
BPTR | Buffer Pointer | Run-time and Simulation Mode
NORD | Number of Elements Read | Run-time and Simulation Mode
BUSY | Busy | Run-time and Simulation Mode

## subArray
Name | Description | group
INP | Input Link | Read Write and Convert
DTYP | Device Type | Read Write and Convert
FTVL | Field Type of Value | Array
VAL | Value Field | Array
MALM | Maximum Number of Elements In Sub-array | Array
NELM | Number of Elements In Sub-array | Array
INDX | Index Into Referenced Array | Array
EGU | Engineering Units | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
PREC | Display Precision | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display
NORD | Number of Elements Read | Run-time and Simulation Mode
BPTR | Buffer Pointer | Run-time and Simulation Mode

## compress
Name | Description | group
RES | Reset | Read and Algorithm
ALG | Algorithm | Read and Algorithm
NSAM | Number in Sample | Read and Algorithm
N | Number | Read and Algorithm
ILIL | Initial Low Interest Value | Read and Algorithm
IHIL | Initial High Interest Value | Read and Algorithm
EGU | Engineering Units | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
PREC | Display Precision | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display

## calc
Name | Description | group
EGU | Engineering Units | Operator Display
PREC | Display Precision | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display
HIHI | Hihi Alarm Limit | Alarm
HIGH | High Alarm Limit | Alarm
LOW | Low Alarm Limit | Alarm
LOLO | Lolo Alarm Limit | Alarm
HHSV | Severity for a Hihi Alarm | Alarm
HSV | Severity for a High Alarm | Alarm
LSV | Severity for a Low Alarm | Alarm
LLSV | Severity for a Lolo Alarm | Alarm
HYST | Alarm Deadband | Alarm

## calcout
Name | Description | group
EGU | Engineering Units | Operator Display
PREC | Display Precision | Operator Display
HOPR | High Operating Range | Operator Display
LOPR | Low Operating Range | Operator Display
OUTV | OUT PV Status | Operator Display
CLCV | CALC Valid | Operator Display
OCLV | OCAL Valid | Operator Display
DLYA | Output Delay Active | Operator Display
NAME | Record Name | Operator Display
DESC | Description | Operator Display
HIHI | Hihi Alarm Limit | Alarm
HIGH | High Alarm Limit | Alarm
LOW | Low Alarm Limit | Alarm
LOLO | Lolo Alarm Limit | Alarm
HHSV | Severity for a Hihi Alarm | Alarm
HSV | Severity for a High Alarm | Alarm
LSV | Severity for a Low Alarm | Alarm
LLSV | Severity for a Lolo Alarm | Alarm
HYST | Alarm Deadband | Alarm